PX128

Power Sequencer

| Product Description: The PX128 is a 1U Power Sequencer Key Features and Benefits: - At power on there is a 1 second delay start time between channels - reverse is true in power down mode - Front Panel Independent channel one touch power switch Single bypass switch Single all off power switch - Rear Panel 8 x power output connectors 6.5mm link connectors Front Panel: Specifications. System max power output (RMS); 18KW. System max power output (RMS) Channel’s max power output (RMS); 3KW. Connect/Disconenct Delay Time; 1s. Network Connection Control; have. Bypass Function; have. Operating Voltage; 220V 50Hz-60Hz. Dimensions (W x D x H); 483mm (19”) x 222mm (8.7”) x 45mm (1.8”). Packaging Dimensions (1 piece/pack); 555mm (21.9”) x 310mm (12.2”) x 78mm (3.1”). Net Weight (1 piece/pack); 5kg (11lb). Gross Weight (1 piece/pack); 6kg (13.2lb). | Mouseover image to zoom Front View Back View. |
| --- | --- |